Contents: [Dobrica Pavlinušić's random unstructured stuff]
• Dobrica Pavlinušić's random unstructured stuff (LAN) 
• Dobrica Pavlinušić's random unstructured stuff (VISA) 
• Dobrica Pavlinušić's random unstructured stuff (USB) 
• Dobrica Pavlinušić's random unstructured stuff (firmware update) 
• Dobrica Pavlinušić's random unstructured stuff (hints) 
• Dobrica Pavlinušić's random unstructured stuff (plugins for firmware) 

• http://www.gotroot.ca/rigol/ 
LAN
• https://github.com/RoGeorge/DS1054Z_screen_capture 
dpavlin@x200:/rest/cvs$ git clone https://github.com/RoGeorge/DS1054Z_screen_capture
Cloning into 'DS1054Z_screen_capture'...
remote: Counting objects: 77, done.
remote: Total 77 (delta 0), reused 0 (delta 0), pack-reused 77
Unpacking objects: 100% (77/77), done.
Checking connectivity... done.
dpavlin@x200:/rest/cvs$ cd DS1054Z_screen_capture/
dpavlin@x200:/rest/cvs/DS1054Z_screen_capture$ 

dpavlin@x200:/rest/cvs/DS1054Z_screen_capture$ python OscScreenGrabLAN.py png 192.168.3.250
Instrument ID: RIGOL TECHNOLOGIES,DS1104Z,DS1ZA172114616,00.04.03.SP2

Receiving screen capture...
Saved file: DS1104Z_DS1ZA172114616_2015-12-31_14.11.17.png

• https://github.com/pklaus/ds1054z 
dpavlin@x200:/rest/cvs$ git clone https://github.com/pklaus/ds1054z
Cloning into 'ds1054z'...
remote: Counting objects: 693, done.
remote: Total 693 (delta 0), reused 0 (delta 0), pack-reused 693
Receiving objects: 100% (693/693), 136.88 KiB | 0 bytes/s, done.
Resolving deltas: 100% (340/340), done.
Checking connectivity... done.
dpavlin@x200:/rest/cvs$ cd ds1054z/
dpavlin@x200:/rest/cvs/ds1054z$ sudo python setup.py install
dpavlin@x200:/rest/cvs/ds1054z$ sudo apt-get install python-zeroconf

dpavlin@x200:/rest/cvs/ds1054z$ ds1054z discover
192.168.3.250

dpavlin@x200:/rest/cvs/ds1054z$ ds1054z info

Vendor:   RIGOL TECHNOLOGIES
Product:  DS1104Z
Serial:   DS1ZA172114___
Firmware: 00.04.03.SP2

dpavlin@x200:/rest/cvs/ds1054z$ ds1054z save-screen
ds1054z-scope-display_2015-12-31_14-19-52.png

• https://github.com/Teuniz/DSRemote.git 
VISA
• https://github.com/rheslip/PyDSA 
USB
• https://github.com/wd5gnr/qrigol 
firmware update
• http://beyondmeasure.rigoltech.com/acton/fs/blocks/showLandingPage/a/1579/p/p‑0019/t/page/fm/0 
dpavlin@x200:/tmp$ unzip -t DS1000Z\(ARM\)Update_00.04.03.02.03.zip 
Archive:  DS1000Z(ARM)Update_00.04.03.02.03.zip
    testing: DS1000Z(ARM)Update_00.04.03.02.03/   OK
    testing: DS1000Z(ARM)Update_00.04.03.02.03/DS1000ZUpdate.GEL   OK
No errors detected in compressed data of DS1000Z(ARM)Update_00.04.03.02.03.zip.

hints
• Menu, Menu, Force, Menu ‑ access system info menu
plugins for firmware
https://www.eevblog.com/forum/testgear/rigol‑ds1000z‑firmware‑patch‑plugins/